## Read_this_first
Please fill in the spreadsheet without changing the structure of the file (e.g. column naming, column/row addition or deletion)
observatory sheet: Information in this sheet refer to each EMO BON observatory. They characterize the observatory regarding its location, sampling site details, contact person, etc. This sheet is to be completed once after the EMO BON registration form has been completed by the operating stations. Metadata in this field are linked to all samples collected by this observatory
sampling sheet: Information in this sheet are specific to each sampling event. Metadata in this sheet will be completed after every sampling event for each unique sample. Each sample replicate occupies one row
measured sheet: Information in this sheet are specific to each sampling event. All the measured environmental variables are included here. Some variables are obligatory to be measured for all samples and some are optional. It is important to measure each variable using the same method among sampling events. Metadata in this sheet will be completed after every sampling event and will be updated whenever new measurements are performed. Each sample replicate occupies one row
definitions sheet: All terms used in this file are explained in this sheet in alphabetical order

## observatory
project_name | latitude | longitude | geo_loc_name | loc_broad_ocean | loc_regional | loc_loc | env_broad_biome | env_local | env_package | tot_depth_water_col | dist_shore | organization | organization_country | organization_edmoid | obs_id | wa_id | extra_site_info | contact_name | contact_email | contact_orchid
EMOBON | 39.4636 | 9.4636 | France | Atlantic Ocean | White Sea | Kandalaksha Bay | marine biome [ENVO:00000447];oceanic epipelagic zone biome [ENVO:01000033] | marine hydrothermal vent [ENVO:01000122];marine water body [ENVO:00001999] | water | 42 | 14.1 | Institute of Marine Biology of the Rim (IMaBRi) | France | 5401 | JiJ554 | JiJ554 Wa | There is an EMSO buoy; Participated in OSD 2020 and 2015; Annual bloom in January | Jimena Kortan | jim.kortan@server.com | https://orcid.org/0000-0002-0202-8256

## sampling
source_mat_id | investigation_type | env_material | collection_date | sampling_event | sampl_person | sampl_person_orchid | tidal_stage | depth | samp_size | time_fi | size_frac | size_frac_low | size_frac_up | membr_cut | samp_collect_device | samp_mat_process | samp_mat_process_dev | samp_store_dur | samp_deposit_date | samp_store_loc | samp_store_temp | store_person | store_person_orchid | other_person | other_person_orchid | ship_date
EMO BON JIJO41 Wa 210828 3um_3 | metagenome | seawater [ENVO:00002149]; coastal sea water [ENVO:00002150]; surface water [ENVO:00002042] | 2021-08-31T10:00+02:00 | JIJO41 Wa 210828 | Jasson Piepson | https://orcid.org/0000-0002-0202-8256 | high_tide | 1 | 15 | 3 | 3-200 | 200 | 3 | Y | Niskin | WaSOP 1 | vaccum pump | 92 | 2021-08-31 | Freezer No3, second self, drawer 54 | -80 | Meniani Rose | https://orcid.org/0000-0002-0202-8256 | Jame Puran | https://orcid.org/0000-0002-0202-8256 | 2021-12-31

## measured
chlorophyll | chlorophyll_method | sea_surf_temp | sea_surf_temp_method | sea_subsurf_temp | sea_subsurf_temp_method | sea_surf_salinity | sea_surf_salinity_method | sea_subsurf_salinity | sea_subsurf_salinity_method | alkalinity | alkalinity_method | ammonium | ammonium_method | atmospheric_data | bacteria_carb_prod | bacteria_carb_prod_method | bac_prod | bac_prod_method | bac_resp | bac_resp_method | biomass | biomass_method | chem_administration | conduc | conduc_method | density | density_method | diss_carb_dioxide | diss_carb_dioxide_method | diss_hydrogen | diss_hydrogen_method | diss_inorg_carb | diss_inorg_carb_method | diss_org_carb | diss_org_carb_method | diss_org_nitro | diss_org_nitro_method | down_par | down_par_method | light_intensity | light_intensity_method | diss_oxygen | diss_oxygen_method | n_alkanes | n_alkanes_method | nitrate | nitrate_method | nitrite | nitrite_method | org_carb | org_carb_method | org_matter | org_matter_method | org_nitro | org_nitro_method | organism_count | organism_count_method | ph | ph_method | part_org_carb | part_org_carb_method | part_org_nitro | part_org_nitro_method | perturbation | petroleum_hydrocarb | petroleum_hydrocarb_method | phaeopigments | phaeopigments_method | phosphate | phosphate_method | pigments | pigments_method | pressure | pressure_method | primary_prod | primary_prod_method | redox_potential | redox_potential_method | silicate | silicate_method | sulfate | sulfate_method | sulfide | sulfide_method | tot_carb | tot_carb_method | tot_diss_nitro | tot_inorg_nitro | tot_nitro | tot_nitro_method | tot_part_carb | tot_part_carb_method | tot_phosp | tot_phosp_method | turbidity | water_current | water_current_method | misc_param | misc_param_method
0.486 | filtration on 0.2 um PC filters, extraction in acetone overnight, photometric measurement | 12 | Seabird SBE 911plus CTD system | 8 | Sealogger CTD SBE 25 SeaBird Electronics | 34 | Guildline 8410A salinometer | 33 | SD204 CTD (SAIV A/S) | 2015.44 | as described in https://doi.org/10.1016/S0043-1354(98)00168-7 | 0.1 | https://doi.org/10.1016/0043-1354(84)90230-6 | wind speed 9 knots ; rain the previous day | 1.5e-09 | calculated according to: doi | 1e-06 | leucine 3H method | 0.0005 | oxygen decrease in dark bottles, oxygen was measured as described in https://doi.org/10.1002/iroh.19700550118 | bacteria 551E-9;Synechococcus 136E-12 | bacteria Flow cytometry FACSAria II flow cytometer (Becton-Dickinson) and convertion factor described in Lee Fuhrman, 1987 ;Synechococcus Flow cytometry EPICS ALTRA, Beckman Coulter and convertion factor described in Kana Gliber, 2000 | CHEBI:38892 2021-09-30 | 11 | SD204 CTD (SAIV A/S) | 100000 | SD204 CTD (SAIV A/S) | 0.25 | according to doi | 0.29 | according to doi | 96.2 | according to doi | 194 | according to doi | 0.009 | according to doi | 24.15 | biospherical PAR light sensor (QSP 2300, Bios- pherical Instruments) | 0.4 | sensor type, model, brand | 184 | according to doi | n-hexadecane 100; n-hexatriacontane 201 | according to doi | 10.3 | pretreatment description, photometrically, photometer brand | 0.12 | pretreatment description, photometrically, photometer brand | 15.2 | HTCO, Shimadzu TOC 5000A analyzer | 0.95 | HTCO, Shimadzu TOC 5000A analyzer | 1.74 | HTCO, Shimadzu TOC 5000A analyzer | bacteria 551E-9;Synechococcus 136E-12 | bacteria Flow cytometry FACSAria II flow cytometer (Becton-Dickinson) and convertion factor described in Lee Fuhrman, 1987 ;Synechococcus Flow cytometry EPICS ALTRA, Beckman Coulter and convertion factor described in Kana Gliber, 2000 | sensor Blue Springs Instruments (YSI) 6600 multisensor | pH electrode (WTW multi 340i and pH/cond 340i with WTW sentixÒ 41 probes ref 103,635), calibrated with National Bureau of Standards (nbs) buffers (Hamilton calibration buffer) | 0.85 | HTCO, Shimadzu TOC 5000A analyzer | 0.42 | HTCO, Shimadzu TOC 5000A analyzer | antibiotic addition on 2021-03-04 for 45 days | 15.2 | according to doi | phaeophytin 0.25; phaeoerythrin 0.11 | filtration fraction, pretreatment, HPLC | 0.014 | pretreatment description, photometrically, photometer brand | caroten 0.125; phycoerythrin 0.121 | filtration fraction, pretreatment, HPLC | 1.2 | CTD brand, mode, type | 24 | 14C method according to doi | 300 | sensor type, model, brand | 1.45 | Seal III autoanalyzer according to https://doi.org/10.1016/S0003-2670(00)87825-3 | 0.52 | combustion isotope-ratio monitoring mass spectrometry (C-irmMS) | 0.14 | Amperometric microsensor profile measurements | 0.9 | according to doi | 1.45 | 15.2 | 158.2 | Seal III autoanalyzer according to https://doi.org/10.1016/S0003-2670(00)87825-3 | 18.2 | according to https://doi.org/10.1016/S0003-2670(00)87825-3 | 0.15 | according to https://doi.org/10.1016/S0003-2670(00)87825-3 | 0.35 | 10 | satellite-tracked drifters | zooplankton egg production 5 eggs per day; microplankton diversity multiple values available: https:// | stereoscope observation; inverted microscopy

## definitions
Metadata_term | Metadata_term_full_name | Term_Definition | Required_value_and_units | Example | Metadata_Category | Completed_by | Requirement | Traceability_required_(Y/N) | EOV_(Y/N) | MiXS_mandatory_(Y/N) | ENA_water_checklist_mandatory_(Y/N)
alkalinity | alkalinity | Alkalinity, the ability of a solution to neutralize acids to the equivalence point of carbonate or bicarbonate | measurement value in milliequivalents per liter (mEq/l) | 2015.44 | Measured | contact_name | Optional (O)
alkalinity_method | alkalinity method | Method used for alkalinity measurement. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | as described in https://doi.org/10.1016/S0043-1354(98)00168-7 | Measured | contact_name | Optional (O)
ammonium | ammonium | Concentration of ammonium in the sample | measurement value in micromol per liter (umol/l) | 0.1 | Measured | contact_name | Optional (O) |  | Y
ammonium_method | ammonium method | Method used for ammonium concentration measurement. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | https://doi.org/10.1016/0043-1354(84)90230-6 | Measured | contact_name | Optional (O)
atmospheric_data | atmospheric data | Measurement of atmospheric data; can include multiple data | atmospheric data name measurement value; atmospheric data name measurement value | wind speed 9 knots ; rain the previous day | Measured | contact_name | Optional (O)
bac_prod | bacterial production | Bacterial production in the water column measured by isotope uptake | measurement value in micrograms per cubic meter per day (mg/m3/d) | 1e-06 | Measured | contact_name | Optional (O)
bac_prod_method | bacterial production method | Method for the measurement of bacterial production in the water column measured by isotope uptake. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | leucine 3H method | Measured | contact_name | Optional (O)
bac_resp | bacterial respiration | Measurement of bacterial respiration in the water column | measurement value micrograms per cubic meter per day (mg/m3/d) | 0.0005 | Measured | contact_name | Optional (O)
bac_resp_method | bacterial respiration method | Method for the measurement of bacterial respiration in the water column. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | oxygen decrease in dark bottles, oxygen was measured as described in https://doi.org/10.1002/iroh.19700550118 | Measured | contact_name | Optional (O)
bacteria_carb_prod | bacterial carbon production | Measurement of bacterial carbon production | measurement value in nanograms per hour (ng/h) | 1.5e-09 | Measured | contact_name | Optional (O)
bacteria_carb_prod_method | bacterial carbon production method | Method for the measurement of bacterial carbon production. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | calculated according to: doi | Measured | contact_name | Optional (O)
biomass | biomass | Amount of biomass; should include the name for the part of biomass measured, e.g. Microbial, total. Can include multiple measurements. Different entries are separated by ; | biomass type measurement value in grams Carbon per liter (g C/l); biomass type measurement value in grams Carbon per liter (g C/l) | bacteria 551E-9;Synechococcus 136E-12 | Measured | contact_name | Optional (O) |  | Y
biomass_method | biomass method | Method for the measurement of the amount of biomass; should include the name for the part of biomass measured, e.g. Microbial, total. Can include multiple measurements. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | biomass type method text; biomass type method text | bacteria Flow cytometry FACSAria II flow cytometer (Becton-Dickinson) and convertion factor described in Lee Fuhrman, 1987 ;Synechococcus Flow cytometry EPICS ALTRA, Beckman Coulter and convertion factor described in Kana Gliber, 2000 | Measured | contact_name | Optional (O)
chem_administration | chemical administration | List of chemical compounds administered to the host or site where sampling occurred, and when (e.g. Antibiotics, n fertilizer, air filter); can include multiple compounds. For chemical entities of biological interest ontology (chebi) (v 163), http://purl.bioontology.org/ontology/chebi | CHEBI code in text timestamp | CHEBI:38892 2021-09-30 | Measured | contact_name | Optional (O)
chlorophyll | chlorophyll | Concentration of chlorophyll-a | measurement value in micrograms per liter (ug/l) | 0.486 | Measured | contact_name | Mandatory (M) |  | Y
chlorophyll_method | chlorophyll method | Method for measuring the concentration of chlorophyll-a. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link. | text | filtration on 0.2 um PC filters, extraction in acetone overnight, photometric measurement | Measured | contact_name | Mandatory (M)
collection_date | collection date | The time of sampling, as an instance (single point in time). In case no exact time is available, the date/time can be right truncated i.e. all of these are valid times: 2008-01-23T19:23:10+00:00; 2008-01-23T19:23:10; 2008-01-23; All formats are ISO8601 compliant | date and time according to ISO 8601 | 2021-08-31T10:00+02:00 | Sampling | contact_name | Mandatory (M) | Y |  | Y | Y
conduc | conductivity | Electrical conductivity of water | measurement value in millisiemens per centimeter (mS/cm) | 11 | Measured | contact_name | Optional (O)
conduc_method | conductivity method | Method for the measurement of electrical conductivity of water. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | SD204 CTD (SAIV A/S) | Measured | contact_name | Optional (O)
contact_email | contact person email | observatory contact person email address | text email address | jim.kortan@server.com | Observatory | Ioulia Santi; contact person | Mandatory (M)
contact_name | contact person name | observatory contact person name | text | Jimena Kortan | Observatory | Ioulia Santi; contact person | Mandatory (M)
contact_orchid | contact person orchid | Orchid URL of the contact person (https://orcid.org) | text orchid URL | https://orcid.org/0000-0002-0202-8256 | Observatory | Ioulia Santi; contact person | Optional (O)
density | density | Density of the sample, which is its mass per unit volume (aka volumetric mass density) | measurement value in grams per cubic meter (g/m3) | 100000 | Measured | contact_name | Optional (O)
density_method | density method | Method for the measurement of density of the sample, which is its mass per unit volume (aka volumetric mass density). Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | SD204 CTD (SAIV A/S) | Measured | contact_name | Optional (O)
depth | geographic location (depth) | Vertical distance below sea surface at which sample was taken. | depth value in meters (m) | 1 | Sampling | contact_name | Mandatory (M) | Y |  | Y | Y
diss_carb_dioxide | dissolved carbon dioxide | Concentration of dissolved carbon dioxide in the sample or liquid portion of the sample | measurement value in micromol per liter (umol/l) | 0.25 | Measured | contact_name | Optional (O)
diss_carb_dioxide_method | dissolved carbon dioxide method | Method for the measurement of the concentration of dissolved carbon dioxide in the sample or liquid portion of the sample. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | according to doi | Measured | contact_name | Optional (O)
diss_hydrogen | dissolved hydrogen | Concentration of dissolved hydrogen | measurement value in micromol per liter (umol/l) | 0.29 | Measured | contact_name | Optional (O)
diss_hydrogen_method | dissolved hydrogen method | Method for the measurement of the concentration of dissolved hydrogen. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | according to doi | Measured | contact_name | Optional (O)
diss_inorg_carb | dissolved inorganic carbon | Dissolved inorganic carbon concentration in the sample, typically measured after filtering the sample using a 0.45 micrometer filter | measurement value in microgram per liter (ug/l) | 96.2 | Measured | contact_name | Optional (O) |  | Y
diss_inorg_carb_method | dissolved inorganic carbon method | Method for the measurement of dissolved inorganic carbon concentration in the sample, typically measured after filtering the sample using a 0.45 micrometer filter. Indicate if a different filter size fraction was used. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | according to doi | Measured | contact_name | Optional (O)
diss_org_carb | dissolved organic carbon | Concentration of dissolved organic carbon in the sample, liquid portion of the sample, or aqueous phase of the fluid | measurement value in micromol per liter (umol/l) | 194 | Measured | contact_name | Optional (O) |  | Y
diss_org_carb_method | dissolved organic carbon method | Method for measurement of concentration of dissolved organic carbon in the sample, liquid portion of the sample, or aqueous phase of the fluid. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | according to doi | Measured | contact_name | Optional (O)
diss_org_nitro | dissolved organic nitrogen | Dissolved organic nitrogen concentration measured as; total dissolved nitrogen - NH4 - NO3 - NO2 | measurement value in micromol per liter (umol/l) | 0.009 | Measured | contact_name | Optional (O)
diss_org_nitro_method | dissolved organic nitrogen method | Method for the measurement of dissolved organic nitrogen concentration measured as; total dissolved nitrogen - NH4 - NO3 - NO2. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | according to doi | Measured | contact_name | Optional (O)
diss_oxygen | dissolved oxygen | Concentration of dissolved oxygen | measurement value in micromol per kilogram (umol/kg) | 184 | Measured | contact_name | Optional (O) |  | Y
diss_oxygen_method | dissolved oxygen method | Method for the measurement of the concentration of dissolved oxygen. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | according to doi | Measured | contact_name | Optional (O)
dist_shore | site distance from shore | Indicated the distance from shore of the sampling site in miles (mi) | distance in miles (mi) | 14.1 | Observatory | Ioulia Santi; contact person | Mandatory (M)
down_par | downward PAR | Visible waveband radiance and irradiance measurements in the water column | measurement value in microeinstein per square meter per second (uE m-2 s-1) | 24.15 | Measured | contact_name | Optional (O)
down_par_method | downward PAR method | Method for the measurement of visible waveband radiance and irradiance measurements in the water column. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | biospherical PAR light sensor (QSP 2300, Bios- pherical Instruments) | Measured | contact_name | Optional (O)
env_broad_biome | environment (biome) | In this field, report which major environmental system your sample or specimen came from. The systems identified should have a coarse spatial grain, to provide the general environmental context of where the sampling was done (e.g. were you in the desert or a rainforest?). Use subclasses of ENVO’s biome class: http://purl.obolibrary.org/obo/ENVO_00000428. Biome should be treated as the descriptor of the broad ecological context of a sample. Examples include: desert, taiga, deciduous woodland, or coral reef. Format (one term): termLabel [termID], Format (multiple terms): termLabel [termID];termLabel [termID];termLabel [termID]. Example: Annotating a water sample from the photic zone in middle of the Atlantic Ocean, consider: oceanic epipelagic zone biome [ENVO:01000033]. Example: Annotating a sample from the Amazon rainforest consider: tropical moist broadleaf forest biome [ENVO:01000228]. If needed, request new terms on the ENVO tracker, identified here: http://www.obofoundry.org/ontology/envo.html | Add terms that identify the major environment type(s) where your sample was collected. Use subclasses of biome [ENVO:00000428]. Multiple terms can be separated by one or more semicolons e.g.: mangrove biome [ENVO:01000181];estuarine biome [ENVO:01000020] | marine biome [ENVO:00000447];oceanic epipelagic zone biome [ENVO:01000033] | Observatory | Ioulia Santi; contact person | Mandatory (M) | Y |  | Y | Y
env_local | environment (feature) | In this field, report the entity or entities which are in your sample or specimen’s local vicinity and which you believe have significant causal influences on your sample or specimen. This level includes geographic environmental features. Compared to biome, this level is a descriptor of the more local environment. Examples include: harbor, cliff, or lake. Please use terms that are present in ENVO and which are of smaller spatial grain than your entry for env_broad_biome. Format (one term): termLabel [termID]; Format (multiple terms): termLabel [termID];termLabel [termID];termLabel [termID]. Example: Annotating a pooled sample taken from various vegetation layers in a forest consider: canopy [ENVO:00000047];herb and fern layer [ENVO:01000337];litter layer [ENVO:01000338];understory [01000335];shrub layer [ENVO:01000336]. If needed, request new terms on the ENVO tracker, identified here: http://www.obofoundry.org/ontology/envo.html | Select a term that identifies environmental entities having causal influences upon the entity at time of sampling, multiple terms can be separated by semicolon, e.g.: shoreline [ENVO:00000486];intertidal zone [ENVO:00000316] | marine hydrothermal vent [ENVO:01000122];marine water body [ENVO:00001999] | Observatory | Ioulia Santi; contact person | Mandatory (M) |  |  | Y | Y
env_material | environment (material) | In this field, report which environmental material or materials (semicolon separated) immediately surrounded your sample or specimen prior to sampling, using one or more subclasses of ENVO’s environmental material class: http://purl.obolibrary.org/obo/ENVO_00010483. The environmental material level refers to the material that was displaced by the sample, or material in which a sample was embedded, prior to the sampling event. Environmental material terms are generally mass nouns. Examples include: air, soil, or water. Format (one term): termLabel [termID]; Format (multiple terms): termLabel [termID];termLabel [termID];termLabel [termID]. Example: Annotating a fish swimming in the upper 100 m of the Atlantic Ocean, consider: ocean water [ENVO:00002151]. Example: Annotating a duck on a pond consider: pond water [ENVO:00002228];air ENVO_00002005. If needed, request new terms on the ENVO tracker, identified here: http://www.obofoundry.org/ontology/envo.html | Add terms that identify the material displaced by the entity at time of sampling. Recommend subclasses of environmental material [ENVO:00010483]. Multiple terms can be separated by semicolon e.g.: estuarine water [ENVO:01000301];estuarine mud [ENVO:00002160] | seawater [ENVO:00002149]; coastal sea water [ENVO:00002150]; surface water [ENVO:00002042] | Sampling | Ioulia Santi; contact person | Mandatory (M) |  |  | Y | Y
env_package | environmental package | MIxS extension for reporting of measurements and observations obtained from one or more of the environments where the sample was obtained. All environmental packages listed here are further defined in separate subtables. By giving the name of the environmental package, a selection of fields can be made from the subtables and can be reported | Choose the environmental package in the MIxS list | water | Observatory | Ioulia Santi; contact person | Mandatory (M) |  |  |  | Y
extra_site_info | extra sampling site information | Extra information on the sampling site. For example: Is there an environmental time series? Did the site participate to Ocean Sampling Day and for which year(s)? Has this site been included in any genomic biodiversity sampling campaigns in the past? Was there a pollution or a Harmful Algal Bloom event in the past? When are the annual phytoplankton blooms? Are there any other activities taking place in the nearby area? | text | There is an EMSO buoy; Participated in OSD 2020 and 2015; Annual bloom in January | Observatory | Ioulia Santi; contact person | Mandatory (M)
geo_loc_name | geographic location (country) | The geographical origin of the sample as defined by the country name. Country names should be chosen from the INSDC country list (http://insdc.org/country.html) | country name text | France | Observatory | Ioulia Santi; contact person | Mandatory (M) | Y |  | Y | Y
investigation_type | investigation type | Nucleic Acid Sequence Report is the root element of all MIxS compliant reports as standardized by the Genomic Standards Consortium. | Select from the list: eukaryote, bacteria_archaea, plasmid, virus, organelle, metagenome, mimarks-survey, mimarks-specimen, metatranscriptome, single amplified genome, metagenome-assembled genome, uncultivated viral genomes | metagenome | Sampling | Ioulia Santi; contact person | Mandatory (M) |  |  | Y | Y
latitude | geographic location (latitude) | The geographical origin of the sample as defined by latitude. The values should be reported in decimal degrees and in WGS84 system | decimal degrees | 39.4636 | Observatory | Ioulia Santi; contact person | Mandatory (M) | Y |  | Y | Y
light_intensity | light intensity | Measurement of light intensity | measurement value in lux | 0.4 | Measured | contact_name | Optional (O)
light_intensity_method | light intensity method | Method for the measurement of light intensity. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | sensor type, model, brand | Measured | contact_name | Optional (O)
loc_broad_ocean | observatory location ocean or sea | Provide the location of the observatory station by naming the sea or ocean according to: https://www.marineregions.org/gazetteer.php?p=browser&id[]=16597#focus | text | Atlantic Ocean | Observatory | Ioulia Santi; contact person | Mandatory (M) | Y |  |  | Y
loc_loc | observatory local location | Provide the location of the observatory station by naming the local sea area according to: https://www.marineregions.org/gazetteer.php?p=browser&id[]=16597#focus. Local sea area is included to the regional sea. If this level cannot be specified further, repeat the loc_regional | text | Kandalaksha Bay | Observatory | Ioulia Santi; contact person | Mandatory (M) | Y
loc_regional | observatory regional location | Provide the location of the observatory station by naming the regional sea according to: https://www.marineregions.org/gazetteer.php?p=browser&id[]=16597#focus. Regional sea is included to broad ocean location. | text | White Sea | Observatory | Ioulia Santi; contact person | Mandatory (M) | Y
longitude | geographic location (longitude) | The geographical origin of the sample as defined by longitude. The values should be reported in decimal degrees and in WGS84 system | decimal degrees | 9.4636 | Observatory | Ioulia Santi; contact person | Mandatory (M) | Y |  | Y | Y
membr_cut | membrane filter cut | Was the membrane filter cut in half after filtration? | Boolean: Y for yes OR N for no | Y | Sampling | contact_name | Mandatory (M)
misc_param | miscellaneous parameter | Any other measurement performed or parameter collected, that is not listed here | text parameter measured value; text parameter measured value | zooplankton egg production 5 eggs per day; microplankton diversity multiple values available: https:// | Measured | contact_name | Optional (O)
misc_param_method | miscellaneous parameter method | Method used for any other measurement performed or parameter collected, that is not listed here | text | stereoscope observation; inverted microscopy | Measured | contact_name | Optional (O)
n_alkanes | n-alkanes | Concentration of n-alkanes; can include multiple n-alkanes | n-alkane name measurement value in micromol per liter; n-alkane name measurement value in micromol per liter | n-hexadecane 100; n-hexatriacontane 201 | Measured | contact_name | Optional (O)
n_alkanes_method | n-alkanes method | Method for the measurement of the concentration of n-alkanes; can include multiple n-alkanes. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | n-alkane name method in text; n-alkane name method in text | according to doi | Measured | contact_name | Optional (O)
nitrate | nitrate | Concentration of nitrate in the sample | measurement value in micromol per liter (umol/l) | 10.3 | Measured | contact_name | Optional (O) |  | Y
nitrate_method | nitrate method | Method for the measurement of the concentration of nitrate in the sample. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | pretreatment description, photometrically, photometer brand | Measured | contact_name | Optional (O)
nitrite | nitrite | Concentration of nitrite in the sample | measurement value in micromol per liter (umol/l) | 0.12 | Measured | contact_name | Optional (O) |  | Y
nitrite_method | nitrite method | Method for the measurement of the concentration of nitrite in the sample. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | pretreatment description, photometrically, photometer brand | Measured | contact_name | Optional (O)
obs_id | observatory id | Short ID unique for each EMO BON observatory | text up to 8 characters, no spaces | JiJ554 | Observatory | Ioulia Santi; contact person | Mandatory (M)
org_carb | organic carbon | Concentration of organic carbon | measurement value in micromol per liter (umol/l) | 15.2 | Measured | contact_name | Optional (O)
org_carb_method | organic carbon method | Method for the measurement of the concentration of organic carbon. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | HTCO, Shimadzu TOC 5000A analyzer | Measured | contact_name | Optional (O)
org_matter | organic matter | Concentration of organic matter | measurement value in microgram per liter (ug/l) | 0.95 | Measured | contact_name | Optional (O)
org_matter_method | organic matter method | Method for the measurement of the concentration of organic matter. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | HTCO, Shimadzu TOC 5000A analyzer | Measured | contact_name | Optional (O)
org_nitro | organic nitrogen | Concentration of organic nitrogen | measurement value in microgram per liter (ug/l) | 1.74 | Measured | contact_name | Optional (O)
org_nitro_method | organic nitrogen method | Method for the measurement of the concentration of organic nitrogen. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | HTCO, Shimadzu TOC 5000A analyzer | Measured | contact_name | Optional (O)
organism_count | organism count | Total cell count of any organism (or group of organisms) per volume of sample, should include name of organism followed by count. The method that was used for the enumeration (e.g. qPCR, atp, mpn, etc.) Should also be provided. (example: total prokaryotes; 3.5e7 cells per ml; qpcr) | organism name measurement value in cells/individuals per liter (cells l-1 or individuals l-1); organism name measurement value in cells/individuals per liter (cells l-1 or individuals l-1) | bacteria 551E-9;Synechococcus 136E-12 | Measured | contact_name | Optional (O) |  | Y
organism_count_method | organism count method | Method for the enumeration of total cell count of any organism (or group of organisms) per volume of sample, should include name of organism followed by the method (e.g. qPCR, atp, flow cytometry, microscopy, etc.). Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | organism name method text; organisms name method text | bacteria Flow cytometry FACSAria II flow cytometer (Becton-Dickinson) and convertion factor described in Lee Fuhrman, 1987 ;Synechococcus Flow cytometry EPICS ALTRA, Beckman Coulter and convertion factor described in Kana Gliber, 2000 | Measured | contact_name | Optional (O)
organization | organization of the observatory station | Organization the observatory station belongs to | text (full name and abbreviation) | Institute of Marine Biology of the Rim (IMaBRi) | Observatory | Ioulia Santi; contact person | Mandatory (M) | Y
organization_country | country of the organization of the observatory station | Country the operating organization belongs to. Country names should be chosen from the INSDC country list (http://insdc.org/country.html) | text | France | Observatory | Ioulia Santi; contact person | Mandatory (M) | Y
organization_edmoid | EDMO id of the operating organization | Id of the operating organization according to the European Directory of Marime Organizations (EDMO). The EMDO ids can be found by using the EDMO search: https://edmo.seadatanet.org/search | value of EDMO id | 5401 | Observatory | Ioulia Santi; contact person | Mandatory (M)
other_person | other person who contributed to the sample collection (name) | Name of other person who contributed to the sample collection | text | Jame Puran | Sampling | contact_name | Optional (O)
other_person_orchid | other person who contributed to the sample collection orchid | Orchid URL of other person who contributed to the sample collection (https://orcid.org) | text orchid URL | https://orcid.org/0000-0002-0202-8256 | Sampling | contact_name | Optional (O)
part_org_carb | particulate organic carbon | Concentration of particulate organic carbon | measurement value in microgram per liter (ug/l) | 0.85 | Measured | contact_name | Optional (O) |  | Y
part_org_carb_method | particulate organic carbon method | Method for the measurement of the concentration of particulate organic carbon. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | HTCO, Shimadzu TOC 5000A analyzer | Measured | contact_name | Optional (O)
part_org_nitro | particulate organic nitrogen | Concentration of particulate organic nitrogen | measurement value in microgram per liter (ug/l) | 0.42 | Measured | contact_name | Optional (O) |  | Y
part_org_nitro_method | particulate organic nitrogen method | Method for the measurement of the concentration of particulate organic nitrogen. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | HTCO, Shimadzu TOC 5000A analyzer | Measured | contact_name | Optional (O)
perturbation | perturbation | Type of perturbation, e.g. chemical administration, physical disturbance, etc., coupled with perturbation regimen including how many times the perturbation was repeated, how long each perturbation lasted, and the start and end time of the entire perturbation period; can include multiple perturbation types | text perturbation type name, perturbation interval and duration | antibiotic addition on 2021-03-04 for 45 days | Measured | contact_name | Optional (O)
petroleum_hydrocarb | petroleum hydrocarbon | Concentration of petroleum hydrocarbon | measurement value in micromol per liter (umol/l) | 15.2 | Measured | contact_name | Optional (O)
petroleum_hydrocarb_method | petroleum hydrocarbon method | Method for the measurement of the concentration of petroleum hydrocarbon. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | according to doi | Measured | contact_name | Optional (O)
ph | pH | Ph measurement of the sample, or liquid portion of sample, or aqueous phase of the fluid | measurement value | sensor Blue Springs Instruments (YSI) 6600 multisensor | Measured | contact_name | Optional (O)
ph_method | pH method | Method for Ph measurement of the sample, or liquid portion of sample, or aqueous phase of the fluid. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | pH electrode (WTW multi 340i and pH/cond 340i with WTW sentixÒ 41 probes ref 103,635), calibrated with National Bureau of Standards (nbs) buffers (Hamilton calibration buffer) | Measured | contact_name | Optional (O)
phaeopigments | phaeopigments | Concentration of phaeopigments; can include multiple phaeopigments | phaeopigment name measurement value in microgram per liter (ug/l);phaeopigment name measurement value in microgram per liter (ug/l) | phaeophytin 0.25; phaeoerythrin 0.11 | Measured | contact_name | Optional (O)
phaeopigments_method | phaeopigments method | Method for the measurement of the concentration of phaeopigments; can include multiple phaeopigments. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | filtration fraction, pretreatment, HPLC | Measured | contact_name | Optional (O)
phosphate | phosphate | Concentration of phosphate | measurement value in micromol per liter (umol/l) | 0.014 | Measured | contact_name | Optional (O) |  | Y
phosphate_method | phosphate method | Method for the measurement of the concentration of phosphate. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | pretreatment description, photometrically, photometer brand | Measured | contact_name | Optional (O)
pigments | pigments | Concentration of pigments other than chlorophyll-a; can include multiple pigments | phaeopigment name measurement value in microgram per liter (ug/l);phaeopigment name measurement value in microgram per liter (ug/l) | caroten 0.125; phycoerythrin 0.121 | Measured | contact_name | Optional (O)
pigments_method | pigments method | Method for the measurement of the concentration of pigments other than chlorophyll-a; can include multiple pigments. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | filtration fraction, pretreatment, HPLC | Measured | contact_name | Optional (O)
pressure | pressure | Pressure to which the sample is subject to, in atmospheres | measurement value in atmospheres (atm) | 1.2 | Measured | contact_name | Optional (O)
pressure_method | pressure method | Method for the measurement of pressure to which the sample is subjected to. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | CTD brand, mode, type | Measured | contact_name | Optional (O)
primary_prod | primary production | Measurement of primary production, generally measured as isotope uptake | measurement value in milligram per cubic meter per day (mg/m3/d) | 24 | Measured | contact_name | Optional (O) |  | Y
primary_prod_method | primary production method | Method for the measurement of primary production, generally measured as isotope uptake. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | 14C method according to doi | Measured | contact_name | Optional (O)
project_name | project name | Name of the project within which the sequencing was organized | project name in text | EMOBON | Observatory | Ioulia Santi; contact person | Mandatory (M) | Y |  | Y | Y
redox_potential | redox potential | Redox potential, measured relative to a hydrogen cell, indicating oxidation or reduction potential | measurement value in millivolt (mV) | 300 | Measured | contact_name | Optional (O)
redox_potential_method | redox potential method | Method for the measurement of redox potential, measured relative to a hydrogen cell, indicating oxidation or reduction potential. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | sensor type, model, brand | Measured | contact_name | Optional (O)
samp_collect_device | sample collection device or method | The method or device employed for collecting the sample | type name | Niskin | Sampling | contact_name | Mandatory (M)
samp_deposit_date | sample deposit date | If the sample was biobanked, indicate the date it was deposited for biobanking | date according to ISO 8601 | 2021-08-31 | Sampling | contact_name | Mandatory (M) | Y
samp_mat_process | sample material processing | Any processing applied to the sample during or after retrieving the sample from environment. Indicate EMO BON SOPs according to Handbook. Indicate any deviations in the next field | text | WaSOP 1 | Sampling | contact_name | Mandatory (M)
samp_mat_process_dev | sample material processing deviations | Any deviations from the EMO BON Handbook SOPS applied to the sample during processing and after retrieving the sample from environment | text | vaccum pump | Sampling | contact_name | Mandatory (M)
samp_size | amount or size of sample collected | Amount of sample (volume) that was collected. | volume value in liters (l) | 15 | Sampling | contact_name | Mandatory (M)
samp_store_dur | sample storage duration | Duration for which the sample was stored after sampling. Indicate duration of storage until shipment, if sample was shipped for DNA extraction and sequencing. If sample was biobanked leave blank and complete the samp_deposit_date field | duration in days (d) | 92 | Sampling | contact_name | Mandatory (M)
samp_store_loc | sample storage location | Location at which sample was stored, usually name of a specific freezer/room | text | Freezer No3, second self, drawer 54 | Sampling | contact_name | Mandatory (M)
samp_store_temp | sample storage temperature | Temperature at which sample was stored, e.g. -80 degree Celsius | measurement value in degree Celsius (oC) | -80 | Sampling | contact_name | Mandatory (M)
sampl_person | sampled by person (name) | Name of person who sampled the seawater | text | Jasson Piepson | Sampling | contact_name | Mandatory (M) | Y
sampl_person_orchid | sampled by person orchid | Orchid URL of the person who sampled the seawater (https://orcid.org) | text orchid URL | https://orcid.org/0000-0002-0202-8256 | Sampling | contact_name | Optional (O)
sampling_event | sampling event | An EMO BON sampling event is a specific sampling campaign. A campaign that takes place at a specific observatory station at a specific time. The sampling campaign identifier consists of two terms: 1) Sampling Site ID; that is the Observatory ID (for example “SMN99”) supplemented with the sampling site indicator (“Wa” for water column, “So” for soft substrates and “Ha” for hard substrates) 2) Sampling Campaign Date formated as YYMMDD.For example “220315” would be the campaign on 15 March 2022. Especially for Hard substrates, both the deployment and retrieval dates have to be recorded formated as YYMMDD-YYMMDD | text in specific format (sampling event id) | JIJO41 Wa 210828 | Sampling | contact_name | Mandatory (M) | Y
sea_subsurf_salinity | sea subsurface salinity | Subsurface salinity at the time of sampling. Salinity is the total concentration of all dissolved salts in a water sample. While salinity can be measured by a complete chemical analysis, this method is difficult and time consuming. More often, it is instead derived from the conductivity measurement. This is known as practical salinity. These derivations compare the specific conductance of the sample to a salinity standard such as seawater. Indicate in the next field if practical salinity was measured | measurement value | 33 | Measured | contact_name | Mandatory (M) |  | Y
sea_subsurf_salinity_method | sea subsurface salinity method | Method for measuring salinity. Indicate here if the actual salts concentration or practical salinity was measured. Provide as much information as possible. Provide the brand and model name of probe if any | text | SD204 CTD (SAIV A/S) | Measured | contact_name | Mandatory (M)
sea_subsurf_temp | sea subsurface temperature | Sea subsurface temperature at the sampled depth at the time of sampling | measurement value in degree Celsius (oC) | 8 | Measured | contact_name | Mandatory (M) |  | Y
sea_subsurf_temp_method | sea subsurface temperature method | Method for measuring sea temperature. Provide as much information as possible. Provide the brand and model name of probe/instrument if any | text | Sealogger CTD SBE 25 SeaBird Electronics | Measured | contact_name | Mandatory (M)
sea_surf_salinity | sea surface salinity | Seasurface salinity at the time of sampling. Salinity is the total concentration of all dissolved salts in a water sample. While salinity can be measured by a complete chemical analysis, this method is difficult and time consuming. More often, it is instead derived from the conductivity measurement. This is known as practical salinity. These derivations compare the specific conductance of the sample to a salinity standard such as seawater. Indicate in the next field if practical salinity was measured | measurement value in practical salinity units (psu) | 34 | Measured | contact_name | Mandatory (M) |  | Y
sea_surf_salinity_method | sea surface salinity method | Method for measuring salinity. Indicate here if the actual salts concentration or practical salinity was measured. Provide as much information as possible. Provide the brand and model name of probe if any | text | Guildline 8410A salinometer | Measured | contact_name | Mandatory (M)
sea_surf_temp | sea surface temperature | Sea surface temperature at the time of sampling | measurement value in degree Celsius (oC) | 12 | Measured | contact_name | Mandatory (M) |  | Y
sea_surf_temp_method | sea surface temperature method | Method for measuring sea temperature. Provide as much information as possible. Provide the brand and model name of probe/instrument if any | text | Seabird SBE 911plus CTD system | Measured | contact_name | Mandatory (M)
ship_date | sample shipment data | The date the samples were shipped for DNA extraction and sequencing | date according to ISO 8601 | 2021-12-31 | Sampling | contact_name | Mandatory (M) | Y
silicate | silicate | Concentration of silicate | measurement value in micromol per liter (umol/l) | 1.45 | Measured | contact_name | Optional (O) |  | Y
silicate_method | silicate method | Method for the measurement of the concentration of silicate. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | Seal III autoanalyzer according to https://doi.org/10.1016/S0003-2670(00)87825-3 | Measured | contact_name | Optional (O)
size_frac | size fraction selected | Filtering pore sizes range | filter size value range in micrometers (um) | 3-200 | Sampling | contact_name | Mandatory (M)
size_frac_low | size-fraction lower threshold | Refers to the mesh/pore size used to pre-filter/pre-sort the sample. Materials larger than the size threshold are excluded from the sample | filter size value range in micrometers (um) | 200 | Sampling | contact_name | Mandatory (M)
size_frac_up | size-fraction upper threshold | Refers to the mesh/pore size used to retain the sample. Materials smaller than the size threshold are excluded from the sample | value in micrometers (um) | 3 | Sampling | contact_name | Mandatory (M)
source_mat_id | source material identifiers | A unique identifier assigned to a material sample according to EMO BON Handbook. This identifier will characterize the sample during nucleic acid extraction, and subsequent sequencing or biobanking. This identifier consists of 5 terms: 1) Project (“EMO BON”) 2) Sampling Site ID; that is the Observatory ID (for example “SMN99”) supplemented with the sampling site indicator (“Wa” for water column, “So” for soft substrates and “Ha” for hard substrates) 3) Sampling Campaign Date formated as YYMMDD.For example “220315” would be the campaign on 15 March 2022. Especially for Hard substrates, both the deployment and retrieval dates have to be recorded formated as YYMMDD-YYMMDD 4) Size fraction (Wa: “3 μm” / “0.2 μm” / “20 μm” / “200 μm”) or organisms collected (So: “micro” for microorganisms, “meio” for meiobenthos and “macro” for macrobenthos) or ARMS fraction (Ha: “SF” for sessile fraction, “MF05” for motile fraction sieved through 0.5 mm, “MF01” for motile fraction sieved through 0.1 mm) 5) Replicate (number 1-4). For labelling the negative control, this term will be replaced by the notation “blank” in parenthesis. | text in specific format( unique sample id) | EMO BON JIJO41 Wa 210828 3um_3 | Sampling; Measured | contact_name | Mandatory (M)
store_person | person responsible for storage (name) | Name of person who is responsible for storage and shipment (if sample shipped) or for biobanking (if sample biobanked) | text | Meniani Rose | Sampling | contact_name | Mandatory (M)
store_person_orchid | person responsible for storage orchid | Orchid URL of the person who is responsible for storage and shipment (if sample shipped) or for biobanking (if sample biobanked) (https://orcid.org) | text orchid URL | https://orcid.org/0000-0002-0202-8256 | Sampling | contact_name | Optional (O)
sulfate | sulfate | Concentration of sulfate in the sample | measurement value in micromol per liter (umol/l) | 0.52 | Measured | contact_name | Optional (O)
sulfate_method | sulfate method | Method for the concentration of sulfate in the sample. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | combustion isotope-ratio monitoring mass spectrometry (C-irmMS) | Measured | contact_name | Optional (O)
sulfide | sulfide | Concentration of sulfide in the sample | measurement value in micromol per liter (umol/l) | 0.14 | Measured | contact_name | Optional (O)
sulfide_method | sulfide method | Method for the concentration of sulfide in the sample. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | Amperometric microsensor profile measurements | Measured | contact_name | Optional (O)
tidal_stage | tidal stage | Stage of tide (if relevant). | select from the list: low_tide, ebb_tide, flood_tide, high_tide | high_tide | Sampling | contact_name | Optional (O)
time_fi | time to filtration | Indicate here how long from sampling until filtration starts. If filtration takes place in the field, use "fi". Otherwise, indicate the time it takes to transfer samples in the lab in hours (h) | "fi" if filtration takes place in the field; transfer time in hours | 3 | Sampling | Ioulia Santi; contact person | Mandatory (M)
tot_carb | total carbon | Total carbon content (dissolved and particulate, organic and inorganic) | measurement value in microgram per liter (ug/l) | 0.9 | Measured | contact_name | Optional (O)
tot_carb_method | total carbon method | Method for the measurement of the total carbon content (dissolved and particulate) | text | according to doi | Measured | contact_name | Optional (O)
tot_depth_water_col | total depth of water column | Measurement of total depth of water column in meters | depth value in meters (m) | 42 | Observatory | Ioulia Santi; contact person | Mandatory (M)
tot_diss_nitro | total dissolved nitrogen | Total dissolved nitrogen concentration, reported as nitrogen, calculated by: total dissolved nitrogen = NH4 + NO3NO2 + dissolved organic nitrogen | measurement value in microgram per liter (ug/l) | 1.45 | Measured | contact_name | Optional (O)
tot_inorg_nitro | total inorganic nitrogen | Total inorganic nitrogen content | measurement value in microgram per liter (ug/l) | 15.2 | Measured | contact_name | Optional (O)
tot_nitro | total nitrogen concentration | Total nitrogen concentration in the sample (total nitrogen = total dissolved nitrogen + particulate nitrogen) | measurement value in micromol per liter (umol/l) | 158.2 | Measured | contact_name | Optional (O)
tot_nitro_method | total nitrogen concentration method | Method for the measurement of total nitrogen concentration of samples (total nitrogen = total dissolved nitrogen + particulate nitrogen). Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link. If calculated as a sum of different parts, indicate the parts and describe the calculation | text | Seal III autoanalyzer according to https://doi.org/10.1016/S0003-2670(00)87825-3 | Measured | contact_name | Optional (O)
tot_part_carb | total particulate carbon | Total particulate carbon content | measurement value in microgram per liter (ug/l) | 18.2 | Measured | contact_name | Optional (O)
tot_part_carb_method | total particulate carbon method | Method used for the measurement of the total particulate carbon content. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link. If calculated as a sum of different parts, indicate the parts and describe the calculation | text | according to https://doi.org/10.1016/S0003-2670(00)87825-3 | Measured | contact_name | Optional (O)
tot_phosp | total phosphorus | Total phosphorus concentration in the sample, calculated by: total phosphorus = total dissolved phosphorus + particulate phosphorus | measurement value in micromol per liter (umol/l) | 0.15 | Measured | contact_name | Optional (O)
tot_phosp_method | total phosphorus method | Method for the measurement of total phosphorus concentration in the sample (total phosphorus = total dissolved phosphorus + particulate phosphorus). Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link. If calculated as a sum of different parts, indicate the parts | text | according to https://doi.org/10.1016/S0003-2670(00)87825-3 | Measured | contact_name | Optional (O)
turbidity | turbidity | Measure of the amount of cloudiness or haziness in water caused by individual particles | measurement value in nephelometric turbidity units | 0.35 | Measured | contact_name | Optional (O)
wa_id | water column sampling site id | Water column sampling site id. This will be the sampling site id complemented by "Wa" | observatory id Wa | JiJ554 Wa | Observatory | Ioulia Santi; contact person | Mandatory (M) | Y
water_current | water current | Measurement of magnitude and direction of flow within a fluid | measurement value in cubic meter per second (m3/s) | 10 | Measured | contact_name | Optional (O)
water_current_method | water current method | Method for the measurement of the magnitude and direction of flow within a fluid. Provide as much information as possible. If there is a relevant reference or SOP, provide doi or link | text | satellite-tracked drifters | Measured | contact_name | Optional (O)